## Foglio1
NO | Fault file name | Fault type | Fault intensity
1 | AHU_annual.csv | Fault free | NA
2 | sa_bias_-2_annual.csv | Supply air temperature sensor bias | -2°C
3 | sa_bias_-4_annual.csv | Supply air temperature sensor bias | -4°C
4 | sa_bias_2_annual.csv | Supply air temperature sensor bias | +2°C
5 | sa_bias_4_annual.csv | Supply air temperature sensor bias | +4°C
6 | coi_leakage_010_annual.csv | Cooling coil valve leaking | 10% leakage
7 | coi_leakage_025_annual.csv | Cooling coil valve leaking | 25% leakage
8 | coi_leakage_040_annual.csv | Cooling coil valve leaking | 40% leakage
9 | coi_leakage_050_annual.csv | Cooling coil valve leaking | 50% leakage
10 | coi_stuck_010_annual.csv | Cooling coil valve stuck | Stuck at 10%
11 | coi_stuck_025_annual.csv | Cooling coil valve stuck | Stuck at 25%
12 | coi_stuck_050_annual.csv | Cooling coil valve stuck | Stuck at 50%
13 | coi_stuck_075_annual.csv | Cooling coil valve stuck | Stuck at 75%
14 | damper_stuck_010_annual.csv | Outdoor air damper stuck | Stuck at 10%
15 | damper_stuck_025_annual.csv | Outdoor air damper stuck | Stuck at 25%
16 | damper_stuck_075_annual.csv | Outdoor air damper stuck | Stuck at 75%
17 | damper_stuck_100_annual_short.csv | Outdoor air damper stuck | Stuck at 100%
18 | oa_bias_-2_annual.csv | Outdoor air temperature sensor bias | -2°C
19 | oa_bias_-4_annual.csv | Outdoor air temperature sensor bias | -4°C
20 | oa_bias_2_annual.csv | Outdoor air temperature sensor bias | +2°C
21 | oa_bias_4_annual.csv | Outdoor air temperature sensor bias | +4°C